## Slide 1
Computer
OpenViBE Designer
(OVDes)
OpenViBE Acquisition
(OVAcq)
Acquisition client
EEG data
Matrix Sender
Channel selector
CSV File Writer
Signal display
Preprocessing
(e.g. Temporal Filter)
Raw data
EEG Seizure Monitoring System
(eeg_seizure_filter_gui)
MainPrompt
ConfigPrompt
Computer display
Only
channel’s data
configuration file
(1)
(2)
Hard drive
RMS Calculators
STFT Calculators
EEG plots
RMS plots
Bandpower plots
Spectral plots
RMS alarm
“flash” (instantaneous)
Spectral alarm
“flash” (instantaneous)
RMS alarm
RATE plot
Spectral alarm
RATE plot
GUI for changing
vertical display gain and offset
(a)
(b)
(c)
alarm tally
(d)
alarm tally
(e)
(f)
(g)
(h)
Application Input Parameters
Data + analysis
Saving data, RMS, RMS alarm
(3b)
(3a)
MainForm
Optional
User input
Evaluation of
alarm level
Will be on computer display
If no preprocessing
If chose “Load configuration and plot” (no modification of configuration in “MainPrompt”)
The data saved in (3b) might contain some unwanted corruptions (due to communication problems between Matrix Sender and GUI) and preprocessing effects (like temporal filtering), hence re-analysis should be done on the saved RAW data in (3a) instead. The data in (3b) are generally fine for viewing.
Channels’ data and difference
Current RMS values (root mean square)
Current RMS alarm level
RMS alarm rate (tally) every certain period of time
Spectrum of the data (frequency vs magnitude)
Current LBP values (limited band power)
Current LBP alarm level
LBP alarm rate (tally) every certain period of time